## 🏠 COVER
⚡ camsroy.com
Bankable Financial Models ¦ Renewable Energy Project Finance
Project Finance Excel Template
Standalone BESS — Bankable Financial Model
Project Finance Model for Lender Submission ¦ IREDA / PFC / REC / Commercial Bank Format
Project Name | [Enter Project SPV Name]
Capacity | 250 MW / 500 MWh (2-hr duration)
Technology | Lithium-ion (LFP)
Location | [State / Site]
Off-taker | [SECI / State DISCOM / Utility]
Analysis Period | 20 Years (12-yr PPA + 8-yr merchant)
Total Project Cost | ₹793 Cr (indicative)
Debt : Equity | 70 : 30
Prepared By | [Your Name / Firm]
Date | [Submission Date]
Version : | V1.0
Released : | 2026-07-01
📋 WORKBOOK NAVIGATION
📋 | ASSUMPTIONS — Technical, commercial, capex, financing, tax inputs
💰 | CAPEX & MOF — Capital cost build-up + Sources & Uses
📊 | REVENUE MODEL — 20-yr capacity + energy revenue projection
💸 | OPEX SCHEDULE — O&M, insurance, land lease — 20-yr
📉 | DEPRECIATION — Books (SLM) & Tax (WDV) schedules
🏦 | DEBT SCHEDULE — Drawdown, IDC, repayment, DSRA — 20-yr
📈 | P&L — 20-yr Profit & Loss Statement
🏛 | BALANCE SHEET — 20-yr Balance Sheet
💵 | CASH FLOW — 20-yr Cash Flow Statement
🎯 | DSCR & DEBT SERVICE — CFADS, Min/Avg DSCR, LLCR
📐 | RETURNS & WACC — IRR, NPV, Payback, WACC, Cost of Capital
🔬 | SENSITIVITY — 6-scenario stress testing
🎖 | LENDER DASHBOARD — One-page bankability summary
📖 | HOW TO USE — Assumptions basis, sources, methodology notes
🎨 COLOUR LEGEND (Financial Modelling Convention)
■ Sample | Blue text = Hardcoded input / assumption — edit these
■ Sample | Green text = Formula linked from another sheet
■ Sample | Black text = Formula (same sheet)
⚠ All figures are illustrative base-case assumptions grounded in current (2025-26) Indian BESS market data. Verify against your specific EPC quote, PPA/PSA terms, and lender term sheet before submission.
© camsroy.com ¦ Free for personal & commercial use ¦ www.camsroy.com

## 📋 ASSUMPTIONS
⚡ BESS FINANCIAL MODEL — ASSUMPTIONS (Single Source of Truth)
Blue cells = editable inputs. All schedules reference this sheet — change once, everything updates.
🔋 A. TECHNICAL ASSUMPTIONS
Parameter | Value | Notes / Source
Rated Power Capacity (MW) | 250 | Project design capacity
Rated Energy Capacity (MWh) | 500 | 2-hour duration system
Duration (hrs) | 2 | Energy ÷ Power
Round-Trip Efficiency (RTE) | 88% | Typical grid-scale Li-ion LFP BESS
Annual Degradation Rate | 2% | Typical Li-ion capacity fade, 2%/yr
Availability Factor (Contractual) | 98% | Standard availability guarantee in BESS PPAs
Cycles per Day (Base Case) | 1 | 1 full cycle/day for capacity-contract BESS
Augmentation Year | 10 | Mid-life capacity restoration
Augmentation Cost (% of Battery Capex) | 25% | Restores degraded capacity to ~95%
Construction Period (Months) | 12 | COD at start of Year 1
Analysis Period (Years) | 20 | Project economic life
💰 B. CAPEX ASSUMPTIONS (₹ Crore)
Cost Head | ₹ Crore | Basis
Battery Cells + Modules + Racks | 450 | ₹0.90 Cr/MWh — LFP cell benchmark 2026
PCS (Power Conversion System) | 40 | ₹0.16 Cr/MW
BOP (Containers/HVAC/Cabling) | 140 | ₹0.28 Cr/MWh
EPC / Civil Works | 15 | Site prep, foundation, structural
Grid Evacuation / Substation | 50 | Site-specific — verify with transmission utility
Land (Purchase/Lease Premium) | 12 | Small footprint vs solar/wind
Fire Safety / EMS / BMS / SCADA | 20 | Mandatory per India BESS fire safety norms
Subtotal Hard Cost | 727
Contingency % | 4%
Contingency (₹ Cr) | 29.08
Pre-IDC Project Cost (₹ Cr) | 756.08
🏦 C. MEANS OF FINANCE & DEBT TERMS
Parameter | Value | Notes / Source
Debt : Equity Ratio (Debt %) | 70% | Standard RE project finance gearing
Interest Rate on Term Loan (p.a.) | 10.75% | IREDA/PFC BESS lending range 9.5-11%
Moratorium Period (Years) | 1 | Equal to construction period
Repayment Tenor Post-Moratorium | 11 | 12-yr door-to-door, matched to PPA tenor
DSRA (Quarters of Debt Service) | 2 | Standard lender requirement
Processing Fee (% of Debt) | 0.5% | One-time, capitalized to project cost
Viability Gap Funding (VGF) — % of Capex | 35% | Standard for competitive standalone BESS tenders (SECI/state, 30-40% range, 2025-26)
📊 D. REVENUE ASSUMPTIONS
Parameter | Value | Notes / Source
Capacity Charge (₹ Lakh/MW/year) | 21.3 | RVUNL 2025 auction: ₹1,77,500/MW/month
Capacity Charge Escalation (p.a.) | 0% | Base case: fixed capacity charge
Energy/Variable Charge (₹/kWh) | 0% | Base case: pure capacity contract; edit if PPA has variable component
PPA / Capacity Contract Tenor (Yrs) | 12 | Typical Indian standalone BESS PSA tenor
Post-Contract Merchant Rate (% of PPA) | 70% | Conservative re-contracting/merchant assumption
💸 E. OPEX ASSUMPTIONS
Parameter | Value | Notes / Source
Fixed O&M (₹ Lakh/MW/year) | 6 | ~1.5-2% of capex/year, typical BESS O&M
O&M Escalation (p.a.) | 5% | Standard escalation assumption
Insurance (% of Gross Block/yr) | 0.35% | Typical infra asset insurance rate
Land Lease (₹ Cr/year) | 50% | If leased; escalating
Land Lease Escalation (p.a.) | 5%
🧾 F. TAX & DEPRECIATION ASSUMPTIONS
Parameter | Value | Notes / Source
Corporate Tax Rate (Sec 115BAA) | 25.17% | 25.17% incl. surcharge + cess
Tax Depreciation Rate (WDV) | 15% | CONSERVATIVE base case — see note below
Book Depreciation — Useful Life | 20 | SLM, Schedule II general plant & machinery basis
Book Depreciation — Residual Value | 5% | 5% of gross block
⚠ TAX NOTE: Standalone BESS (not co-located with solar/wind generation) is NOT clearly covered under the 40% WDV "renewable energy device" block (Appendix I, Part A, 8(ix)) that applies to solar/wind. This model conservatively uses 15% WDV (general plant & machinery). If co-located or if your tax advisor confirms eligibility for the accelerated 40% rate, change cell B59 accordingly — CONFIRM WITH YOUR CA BEFORE FILING.
📐 G. DISCOUNT RATES / WACC INPUTS
Parameter | Value | Notes / Source
Risk-Free Rate (10-yr G-Sec) | 7% | Verify against current G-Sec yield at submission date
Equity Risk Premium (India) | 6.5% | India infra/power sector benchmark
Beta (Relevered, Power/Infra) | 90% | Typical infra/regulated-return asset beta
© camsroy.com ¦ All figures editable — grounded in 2025-26 Indian BESS market data. Verify against your specific project terms before lender submission.

## 💰 CAPEX & MOF
⚡ CAPEX BUILD-UP & MEANS OF FINANCE
💰 CAPITAL COST BUILD-UP (₹ Crore)
Cost Head | ₹ Crore | % of Total | Reference
Battery Cells + Modules + Racks | 450 | 57.17% | ₹0.90 Cr/MWh — LFP cell benchmark 2026
PCS (Power Conversion System) | 40 | 5.081% | ₹0.16 Cr/MW
BOP (Containers/HVAC/Cabling) | 140 | 17.79% | ₹0.28 Cr/MWh
EPC / Civil Works | 15 | 1.906% | Site prep, foundation, structural
Grid Evacuation / Substation | 50 | 6.352% | Site-specific — verify with transmission utility
Land (Purchase/Lease Premium) | 12 | 1.524% | Small footprint vs solar/wind
Fire Safety / EMS / BMS / SCADA | 20 | 2.541% | Mandatory per India BESS fire safety norms
Subtotal Hard Cost | 727 | 92.36%
Contingency | 29.08 | 3.694% | 4% of hard cost
Pre-IDC Project Cost | 756.08 | 96.05%
Interest During Construction (IDC) | 28.4475 | 3.614% | Debt% × Pre-IDC × Rate × (Months/12) × 0.5 avg drawdown
Loan Processing Fee | 2.6463 | 0.3362%
TOTAL GROSS PROJECT COST | 787.1738 | 100.0%
Cost per MWh (₹ Cr/MWh) | 1.5743
🏦 MEANS OF FINANCE — SOURCES & USES
Source | ₹ Crore | %
Term Loan (Debt) | 551.0217 | 70%
Promoter Equity | 236.1521 | 30%
TOTAL SOURCES | 787.1738 | 100%
Check: Sources = Uses (Total Project Cost) | 0
🏛 VIABILITY GAP FUNDING (VGF) — Received Post-COD, Swept to Prepay Debt
VGF Grant Amount (₹ Cr) — % of Hard Cost | 264.628
VGF Disbursement Year (Yr 1 = immediately post-COD) | 1
Mechanism: Entire VGF swept as one-time debt prepayment at year-end of disbursement year (Debt Schedule sheet)
ℹ Debt and Equity are sized on the GROSS project cost (VGF not netted upfront). VGF is received post-COD and its ENTIRE amount is swept to prepay the term loan (see Debt Schedule). This prepayment is excluded from Debt Service for DSCR purposes since it is externally funded, not from operating cash flow. VGF also reduces the depreciable cost base (Books + Tax) in the disbursement year, per Explanation 10 to Sec 43(1). © camsroy.com

## 📊 REVENUE MODEL
⚡ REVENUE MODEL — 20-Year Capacity & Energy Revenue Projection
Capacity charge escalates per Assumptions. Degradation reduces effective capacity; augmentation at Year 10 restores it. Post-PPA (Yr 13+), merchant rate applies.
Line Item | Constr. | Yr 1 | Yr 2 | Yr 3 | Yr 4 | Yr 5 | Yr 6 | Yr 7 | Yr 8 | Yr 9 | Yr 10 | Yr 11 | Yr 12 | Yr 13 | Yr 14 | Yr 15 | Yr 16 | Yr 17 | Yr 18 | Yr 19 | Yr 20
Year Number |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Capacity Factor (after degradation) |  | 100% | 98% | 96.04% | 94.12% | 92.24% | 90.39% | 88.58% | 86.81% | 85.08% | 83.37% | 95% | 93.1% | 91.24% | 89.41% | 87.62% | 85.87% | 84.16% | 82.47% | 80.82% | 79.21%
Effective Available Capacity (MW) |  | 245 | 240.1 | 235.298 | 230.592 | 225.9802 | 221.4606 | 217.0314 | 212.6908 | 208.4369 | 204.2682 | 232.75 | 228.095 | 223.5331 | 219.0624 | 214.6812 | 210.3876 | 206.1798 | 202.0562 | 198.0151 | 194.0548
Capacity Charge Rate (₹ Lakh/MW/yr) |  | 21.3 | 21.3 | 21.3 | 21.3 | 21.3 | 21.3 | 21.3 | 21.3 | 21.3 | 21.3 | 21.3 | 21.3 | 14.91 | 14.91 | 14.91 | 14.91 | 14.91 | 14.91 | 14.91 | 14.91
Capacity Revenue (₹ Cr) |  | 52.185 | 51.1413 | 50.1185 | 49.1161 | 48.1338 | 47.1711 | 46.2277 | 45.3031 | 44.3971 | 43.5091 | 49.5757 | 48.5842 | 33.3288 | 32.6622 | 32.009 | 31.3688 | 30.7414 | 30.1266 | 29.5241 | 28.9336
Energy Discharged (MWh/year) |  | 160600 | 157388 | 154240.24 | 151155.4352 | 148132.3265 | 145169.68 | 142266.2864 | 139420.9606 | 136632.5414 | 133899.8906 | 152570 | 149518.6 | 146528.228 | 143597.6634 | 140725.7102 | 137911.196 | 135152.972 | 132449.9126 | 129800.9144 | 127204.8961
Energy / Variable Revenue (₹ Cr) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL REVENUE (₹ Cr) |  | 52.185 | 51.1413 | 50.1185 | 49.1161 | 48.1338 | 47.1711 | 46.2277 | 45.3031 | 44.3971 | 43.5091 | 49.5757 | 48.5842 | 33.3288 | 32.6622 | 32.009 | 31.3688 | 30.7414 | 30.1266 | 29.5241 | 28.9336
ℹ Post-PPA-tenor years use merchant rate (% of contracted capacity charge). Degradation resets at augmentation year per Assumptions. ¦ © camsroy.com

## 💸 OPEX SCHEDULE
⚡ OPEX SCHEDULE — 20-Year O&M, Insurance & Land Lease
Fixed O&M escalates annually. Insurance based on gross block. Land lease escalates independently.
Line Item | Constr. | Yr 1 | Yr 2 | Yr 3 | Yr 4 | Yr 5 | Yr 6 | Yr 7 | Yr 8 | Yr 9 | Yr 10 | Yr 11 | Yr 12 | Yr 13 | Yr 14 | Yr 15 | Yr 16 | Yr 17 | Yr 18 | Yr 19 | Yr 20
Year Number |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Fixed O&M (₹ Cr) |  | 15 | 15.75 | 16.5375 | 17.3644 | 18.2326 | 19.1442 | 20.1014 | 21.1065 | 22.1618 | 23.2699 | 24.4334 | 25.6551 | 26.9378 | 28.2847 | 29.699 | 31.1839 | 32.7431 | 34.3803 | 36.0993 | 37.9043
Insurance (₹ Cr) |  | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551
Land Lease (₹ Cr) |  | 0.5 | 0.525 | 0.55125 | 0.57881 | 0.60775 | 0.63814 | 0.67005 | 0.70355 | 0.73873 | 0.77566 | 0.81445 | 0.85517 | 0.89793 | 0.94282 | 0.98997 | 1.0395 | 1.0914 | 1.146 | 1.2033 | 1.2635
TOTAL OPEX (₹ Cr) |  | 18.2551 | 19.0301 | 19.8439 | 20.6983 | 21.5955 | 22.5375 | 23.5266 | 24.5652 | 25.6557 | 26.8007 | 28.003 | 29.2654 | 30.5909 | 31.9827 | 33.444 | 34.9785 | 36.5897 | 38.2814 | 40.0577 | 41.9228
ℹ Insurance based on Total Project Cost (gross block). O&M and Land Lease escalate per Assumptions. ¦ © camsroy.com

## 📉 DEPRECIATION
⚡ DEPRECIATION SCHEDULE — Books (SLM) vs Tax (WDV)
Books depreciation (SLM) feeds P&L/Balance Sheet presentation. Tax depreciation (WDV) determines actual cash tax payable.
Line Item | Constr. | Yr 1 | Yr 2 | Yr 3 | Yr 4 | Yr 5 | Yr 6 | Yr 7 | Yr 8 | Yr 9 | Yr 10 | Yr 11 | Yr 12 | Yr 13 | Yr 14 | Yr 15 | Yr 16 | Yr 17 | Yr 18 | Yr 19 | Yr 20
📗 BOOKS DEPRECIATION (Straight Line Method — Companies Act)
Opening Gross Block (₹ Cr) |  | 787.1738 | 787.1738 | 787.1738 | 787.1738 | 787.1738 | 787.1738 | 787.1738 | 787.1738 | 787.1738 | 787.1738 | 899.6738 | 899.6738 | 899.6738 | 899.6738 | 899.6738 | 899.6738 | 899.6738 | 899.6738 | 899.6738 | 899.6738
Books Depreciation — SLM (₹ Cr) |  | 37.3908 | 37.3908 | 37.3908 | 37.3908 | 37.3908 | 37.3908 | 37.3908 | 37.3908 | 37.3908 | 37.3908 | 48.6408 | 48.6408 | 48.6408 | 48.6408 | 48.6408 | 48.6408 | 48.6408 | 48.6408 | 48.6408 | 48.6408
Closing Net Block — Books (₹ Cr) |  | 749.783 | 712.3923 | 675.0015 | 637.6108 | 600.22 | 562.8293 | 525.4385 | 488.0477 | 450.657 | 413.2662 | 477.1255 | 428.4847 | 379.844 | 331.2032 | 282.5625 | 233.9217 | 185.281 | 136.6402 | 87.9994 | 39.3587
📙 TAX DEPRECIATION (Written Down Value — Income Tax Act, Sec 32)
Opening WDV — Tax (₹ Cr) |  | 522.5458 | 444.1639 | 377.5393 | 320.9084 | 272.7722 | 231.8563 | 197.0779 | 167.5162 | 142.3888 | 121.0305 | 215.3759 | 183.0695 | 155.6091 | 132.2677 | 112.4276 | 95.5634 | 81.2289 | 69.0446 | 58.6879 | 49.8847
Tax Depreciation — WDV (₹ Cr) |  | 78.3819 | 66.6246 | 56.6309 | 48.1363 | 40.9158 | 34.7785 | 29.5617 | 25.1274 | 21.3583 | 18.1546 | 32.3064 | 27.4604 | 23.3414 | 19.8402 | 16.8641 | 14.3345 | 12.1843 | 10.3567 | 8.8032 | 7.4827
Closing WDV — Tax (₹ Cr) |  | 444.1639 | 377.5393 | 320.9084 | 272.7722 | 231.8563 | 197.0779 | 167.5162 | 142.3888 | 121.0305 | 102.8759 | 183.0695 | 155.6091 | 132.2677 | 112.4276 | 95.5634 | 81.2289 | 69.0446 | 58.6879 | 49.8847 | 42.402
⚠ Tax depreciation uses 15% WDV (conservative for standalone BESS) — see Assumptions sheet note. Augmentation capex (Yr 11) added to both schedules. ¦ © camsroy.com
📘 DEFERRED GOVERNMENT GRANT (VGF) — Ind AS 20 Deferred Income Method
Opening Deferred Grant Liability (₹ Cr) |  | 264.628 | 251.3966 | 238.1652 | 224.9338 | 211.7024 | 198.471 | 185.2396 | 172.0082 | 158.7768 | 145.5454 | 132.314 | 119.0826 | 105.8512 | 92.6198 | 79.3884 | 66.157 | 52.9256 | 39.6942 | 26.4628 | 13.2314
Amortisation to Income (₹ Cr) |  | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314
Closing Deferred Grant Liability (₹ Cr) | 0 | 251.3966 | 238.1652 | 224.9338 | 211.7024 | 198.471 | 185.2396 | 172.0082 | 158.7768 | 145.5454 | 132.314 | 119.0826 | 105.8512 | 92.6198 | 79.3884 | 66.157 | 52.9256 | 39.6942 | 26.4628 | 13.2314 | -6.0396e-14
⚠ Ind AS 20: Deferred Income Method used for BOOKS — VGF released to P&L as separate income over remaining useful life, while Book Depreciation runs on the FULL/unreduced gross block. Tax WDV depreciation (above) still reduces by VGF per Explanation 10 to Sec 43(1) — this is a legal requirement independent of book policy. ¦ © camsroy.com

## 🏦 DEBT SCHEDULE
⚡ DEBT SCHEDULE — Drawdown, Moratorium, Repayment, DSRA
Construction-period drawdown in Col B. Moratorium = 1 year (Yr 1). Equal annual principal installments over repayment tenor.
Line Item | Constr. | Yr 1 | Yr 2 | Yr 3 | Yr 4 | Yr 5 | Yr 6 | Yr 7 | Yr 8 | Yr 9 | Yr 10 | Yr 11 | Yr 12 | Yr 13 | Yr 14 | Yr 15 | Yr 16 | Yr 17 | Yr 18 | Yr 19 | Yr 20
Year Number | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Debt Drawdown (₹ Cr) | 551.0217 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Opening Debt Balance (₹ Cr) | 0 | 551.0217 | 286.3937 | 236.3008 | 186.2079 | 136.115 | 86.0221 | 35.9293 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest Expense (₹ Cr) |  | 59.2348 | 30.7873 | 25.4023 | 20.0173 | 14.6324 | 9.2474 | 3.8624 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principal Repayment (₹ Cr) |  | 0 | 50.0929 | 50.0929 | 50.0929 | 50.0929 | 50.0929 | 35.9293 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Debt Service (₹ Cr) |  | 59.2348 | 80.8802 | 75.4952 | 70.1102 | 64.7252 | 59.3403 | 39.7917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Closing Debt Balance (₹ Cr) | 551.0217 | 286.3937 | 236.3008 | 186.2079 | 136.115 | 86.0221 | 35.9293 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
VGF Prepayment (₹ Cr) — one-time, excl. from Debt Service |  | 264.628 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
💧 DEBT SERVICE RESERVE ACCOUNT (DSRA)
DSRA Required (₹ Cr) = Qtrs/4 × Next Yr Debt Service |  | 40.4401 | 37.7476 | 35.0551 | 32.3626 | 29.6701 | 19.8958 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ℹ Equal Annual Principal Installments over Repayment Tenor (11 yrs), following 1-yr Moratorium. Interest on reducing balance. ¦ © camsroy.com

## 📈 P&L
⚡ PROFIT & LOSS STATEMENT — 20-Year Projection
Tax computed using Tax Depreciation (WDV). Book Depreciation (SLM) used for accounting presentation.
Line Item | Constr. | Yr 1 | Yr 2 | Yr 3 | Yr 4 | Yr 5 | Yr 6 | Yr 7 | Yr 8 | Yr 9 | Yr 10 | Yr 11 | Yr 12 | Yr 13 | Yr 14 | Yr 15 | Yr 16 | Yr 17 | Yr 18 | Yr 19 | Yr 20
📦 REVENUE
Capacity Revenue (₹ Cr) |  | 52.185 | 51.1413 | 50.1185 | 49.1161 | 48.1338 | 47.1711 | 46.2277 | 45.3031 | 44.3971 | 43.5091 | 49.5757 | 48.5842 | 33.3288 | 32.6622 | 32.009 | 31.3688 | 30.7414 | 30.1266 | 29.5241 | 28.9336
Energy / Variable Revenue (₹ Cr) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL REVENUE (₹ Cr) |  | 52.185 | 51.1413 | 50.1185 | 49.1161 | 48.1338 | 47.1711 | 46.2277 | 45.3031 | 44.3971 | 43.5091 | 49.5757 | 48.5842 | 33.3288 | 32.6622 | 32.009 | 31.3688 | 30.7414 | 30.1266 | 29.5241 | 28.9336
💸 OPERATING EXPENSES
Fixed O&M (₹ Cr) |  | 15 | 15.75 | 16.5375 | 17.3644 | 18.2326 | 19.1442 | 20.1014 | 21.1065 | 22.1618 | 23.2699 | 24.4334 | 25.6551 | 26.9378 | 28.2847 | 29.699 | 31.1839 | 32.7431 | 34.3803 | 36.0993 | 37.9043
Insurance (₹ Cr) |  | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551 | 2.7551
Land Lease (₹ Cr) |  | 0.5 | 0.525 | 0.55125 | 0.57881 | 0.60775 | 0.63814 | 0.67005 | 0.70355 | 0.73873 | 0.77566 | 0.81445 | 0.85517 | 0.89793 | 0.94282 | 0.98997 | 1.0395 | 1.0914 | 1.146 | 1.2033 | 1.2635
TOTAL OPERATING EXPENSES (₹ Cr) |  | 18.2551 | 19.0301 | 19.8439 | 20.6983 | 21.5955 | 22.5375 | 23.5266 | 24.5652 | 25.6557 | 26.8007 | 28.003 | 29.2654 | 30.5909 | 31.9827 | 33.444 | 34.9785 | 36.5897 | 38.2814 | 40.0577 | 41.9228
EBITDA (₹ Cr) |  | 33.9299 | 32.1112 | 30.2746 | 28.4178 | 26.5383 | 24.6336 | 22.7011 | 20.738 | 18.7414 | 16.7084 | 21.5728 | 19.3189 | 2.7379 | 0.67954 | -1.4351 | -3.6097 | -5.8483 | -8.1548 | -10.5337 | -12.9893
EBITDA Margin % |  | 65.02% | 62.79% | 60.41% | 57.86% | 55.13% | 52.22% | 49.11% | 45.78% | 42.21% | 38.4% | 43.51% | 39.76% | 8.215% | 2.081% | -4.483% | -11.51% | -19.02% | -27.07% | -35.68% | -44.89%
Depreciation — Books (₹ Cr) |  | 37.3908 | 37.3908 | 37.3908 | 37.3908 | 37.3908 | 37.3908 | 37.3908 | 37.3908 | 37.3908 | 37.3908 | 48.6408 | 48.6408 | 48.6408 | 48.6408 | 48.6408 | 48.6408 | 48.6408 | 48.6408 | 48.6408 | 48.6408
EBIT (₹ Cr) |  | -3.4609 | -5.2796 | -7.1161 | -8.9729 | -10.8524 | -12.7571 | -14.6897 | -16.6528 | -18.6494 | -20.6823 | -27.068 | -29.3219 | -45.9029 | -47.9612 | -50.0758 | -52.2505 | -54.489 | -56.7956 | -59.1744 | -61.63
Add: Amortisation of Deferred Govt. Grant (VGF) — Ind AS 20 |  | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314
Interest Expense (₹ Cr) |  | 59.2348 | 30.7873 | 25.4023 | 20.0173 | 14.6324 | 9.2474 | 3.8624 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Profit Before Tax — PBT (₹ Cr) |  | -49.4643 | -22.8355 | -19.2871 | -15.7589 | -12.2534 | -8.7731 | -5.3207 | -3.4214 | -5.418 | -7.4509 | -13.8366 | -16.0905 | -32.6715 | -34.7298 | -36.8444 | -39.0191 | -41.2576 | -43.5642 | -45.943 | -48.3986
Less: Tax Depreciation — WDV (₹ Cr) |  | 78.3819 | 66.6246 | 56.6309 | 48.1363 | 40.9158 | 34.7785 | 29.5617 | 25.1274 | 21.3583 | 18.1546 | 32.3064 | 27.4604 | 23.3414 | 19.8402 | 16.8641 | 14.3345 | 12.1843 | 10.3567 | 8.8032 | 7.4827
Taxable Income (₹ Cr) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax @ 25.17% (₹ Cr) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Profit After Tax — PAT (₹ Cr) |  | -49.4643 | -22.8355 | -19.2871 | -15.7589 | -12.2534 | -8.7731 | -5.3207 | -3.4214 | -5.418 | -7.4509 | -13.8366 | -16.0905 | -32.6715 | -34.7298 | -36.8444 | -39.0191 | -41.2576 | -43.5642 | -45.943 | -48.3986
PAT Margin % |  | -94.79% | -44.65% | -38.48% | -32.08% | -25.46% | -18.6% | -11.51% | -7.552% | -12.2% | -17.12% | -27.91% | -33.12% | -98.03% | -106.3% | -115.1% | -124.4% | -134.2% | -144.6% | -155.6% | -167.3%
ℹ Tax computed on Taxable Income (using WDV tax depreciation), not on Book PBT — reflects actual cash tax liability. ¦ © camsroy.com

## 🏛 BALANCE SHEET
⚡ BALANCE SHEET — 20-Year Projection
Simplified project-company balance sheet. Cash is the balancing plug from the Cash Flow Statement.
Line Item | Constr. | Yr 1 | Yr 2 | Yr 3 | Yr 4 | Yr 5 | Yr 6 | Yr 7 | Yr 8 | Yr 9 | Yr 10 | Yr 11 | Yr 12 | Yr 13 | Yr 14 | Yr 15 | Yr 16 | Yr 17 | Yr 18 | Yr 19 | Yr 20
ASSETS
Non-Current Assets
Gross Block (₹ Cr) | 787.1738 | 787.1738 | 787.1738 | 787.1738 | 787.1738 | 787.1738 | 787.1738 | 787.1738 | 787.1738 | 787.1738 | 787.1738 | 899.6738 | 899.6738 | 899.6738 | 899.6738 | 899.6738 | 899.6738 | 899.6738 | 899.6738 | 899.6738 | 899.6738
Less: Accumulated Depreciation (₹ Cr) | 0 | 37.3908 | 74.7815 | 112.1723 | 149.563 | 186.9538 | 224.3445 | 261.7353 | 299.126 | 336.5168 | 373.9076 | 422.5483 | 471.1891 | 519.8298 | 568.4706 | 617.1113 | 665.7521 | 714.3928 | 763.0336 | 811.6743 | 860.3151
Net Fixed Assets (₹ Cr) | 787.1738 | 749.783 | 712.3923 | 675.0015 | 637.6108 | 600.22 | 562.8293 | 525.4385 | 488.0477 | 450.657 | 413.2662 | 477.1255 | 428.4847 | 379.844 | 331.2032 | 282.5625 | 233.9217 | 185.281 | 136.6402 | 87.9994 | 39.3587
TOTAL NON-CURRENT ASSETS (₹ Cr) | 787.1738 | 749.783 | 712.3923 | 675.0015 | 637.6108 | 600.22 | 562.8293 | 525.4385 | 488.0477 | 450.657 | 413.2662 | 477.1255 | 428.4847 | 379.844 | 331.2032 | 282.5625 | 233.9217 | 185.281 | 136.6402 | 87.9994 | 39.3587
Current Assets
DSRA Balance (₹ Cr) | 0 | 40.4401 | 37.7476 | 35.0551 | 32.3626 | 29.6701 | 19.8958 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash & Bank Balance (₹ Cr) — Plug | 0 | -65.745 | -111.8215 | -154.3496 | -193.3496 | -228.844 | -253.7763 | -250.9711 | -230.2331 | -211.4917 | -194.7833 | -285.7105 | -266.3916 | -263.6537 | -262.9742 | -264.4093 | -268.019 | -273.8672 | -282.022 | -292.5557 | -305.545
TOTAL CURRENT ASSETS (₹ Cr) | 0 | -25.3049 | -74.0739 | -119.2945 | -160.987 | -199.1739 | -233.8805 | -250.9711 | -230.2331 | -211.4917 | -194.7833 | -285.7105 | -266.3916 | -263.6537 | -262.9742 | -264.4093 | -268.019 | -273.8672 | -282.022 | -292.5557 | -305.545
TOTAL ASSETS (₹ Cr) | 787.1738 | 724.4781 | 638.3183 | 555.707 | 476.6238 | 401.0461 | 328.9488 | 274.4674 | 257.8147 | 239.1653 | 218.483 | 191.415 | 162.0931 | 116.1903 | 68.229 | 18.1532 | -34.0973 | -88.5863 | -145.3818 | -204.5562 | -266.1863
LIABILITIES & EQUITY
Shareholders' Funds
Share Capital (₹ Cr) | 236.1521 | 236.1521 | 236.1521 | 236.1521 | 236.1521 | 236.1521 | 236.1521 | 236.1521 | 236.1521 | 236.1521 | 236.1521 | 236.1521 | 236.1521 | 236.1521 | 236.1521 | 236.1521 | 236.1521 | 236.1521 | 236.1521 | 236.1521 | 236.1521
Reserves & Surplus — Cumulative PAT (₹ Cr) | 0 | -49.4643 | -72.2998 | -91.5868 | -107.3457 | -119.5991 | -128.3722 | -133.6929 | -137.1143 | -142.5322 | -149.9832 | -163.8197 | -179.9102 | -212.5817 | -247.3115 | -284.1559 | -323.175 | -364.4326 | -407.9968 | -453.9398 | -502.3384
TOTAL SHAREHOLDERS' FUNDS (₹ Cr) | 236.1521 | 186.6878 | 163.8524 | 144.5653 | 128.8064 | 116.553 | 107.7799 | 102.4592 | 99.0379 | 93.6199 | 86.169 | 72.3324 | 56.2419 | 23.5705 | -11.1594 | -48.0038 | -87.0229 | -128.2805 | -171.8446 | -217.7876 | -266.1863
Non-Current Liabilities
Term Loan — Long-Term Portion (₹ Cr) | 551.0217 | 236.3008 | 186.2079 | 136.115 | 86.0221 | 35.9293 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL NON-CURRENT LIABILITIES (₹ Cr) | 551.0217 | 487.6974 | 424.3731 | 361.0488 | 297.7245 | 234.4003 | 185.2396 | 172.0082 | 158.7768 | 145.5454 | 132.314 | 119.0826 | 105.8512 | 92.6198 | 79.3884 | 66.157 | 52.9256 | 39.6942 | 26.4628 | 13.2314 | -6.0396e-14
Deferred Government Grant (VGF) — Ind AS 20 (₹ Cr) | 0 | 251.3966 | 238.1652 | 224.9338 | 211.7024 | 198.471 | 185.2396 | 172.0082 | 158.7768 | 145.5454 | 132.314 | 119.0826 | 105.8512 | 92.6198 | 79.3884 | 66.157 | 52.9256 | 39.6942 | 26.4628 | 13.2314 | -6.0396e-14
Current Liabilities
Current Maturities of Long-Term Debt (₹ Cr) | 0 | 50.0929 | 50.0929 | 50.0929 | 50.0929 | 50.0929 | 35.9293 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL CURRENT LIABILITIES (₹ Cr) | 0 | 50.0929 | 50.0929 | 50.0929 | 50.0929 | 50.0929 | 35.9293 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL LIABILITIES & EQUITY (₹ Cr) | 787.1738 | 724.4781 | 638.3183 | 555.707 | 476.6238 | 401.0461 | 328.9488 | 274.4674 | 257.8147 | 239.1653 | 218.483 | 191.415 | 162.0931 | 116.1903 | 68.229 | 18.1532 | -34.0973 | -88.5863 | -145.3818 | -204.5562 | -266.1863
Balance Check (Assets − Liab&Eq, should be 0) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.558e-13 | 2.8422e-13 | 2.8422e-13 | 3.1264e-13 | 2.9843e-13 | 3.4106e-13 | 3.2685e-13 | 3.4817e-13 | 3.1264e-13 | 2.8422e-13 | 2.2737e-13 | 0

## 💵 CASH FLOW
⚡ CASH FLOW STATEMENT — 20-Year Projection
Operating + Investing + Financing = Net Cash Flow. Opening/Closing cash rolls forward year to year.
Line Item | Constr. | Yr 1 | Yr 2 | Yr 3 | Yr 4 | Yr 5 | Yr 6 | Yr 7 | Yr 8 | Yr 9 | Yr 10 | Yr 11 | Yr 12 | Yr 13 | Yr 14 | Yr 15 | Yr 16 | Yr 17 | Yr 18 | Yr 19 | Yr 20
CASH FLOW FROM OPERATING ACTIVITIES
Profit After Tax (₹ Cr) |  | -49.4643 | -22.8355 | -19.2871 | -15.7589 | -12.2534 | -8.7731 | -5.3207 | -3.4214 | -5.418 | -7.4509 | -13.8366 | -16.0905 | -32.6715 | -34.7298 | -36.8444 | -39.0191 | -41.2576 | -43.5642 | -45.943 | -48.3986
Add: Depreciation, less Grant Income Amortisation (Net Non-Cash) (₹ Cr) |  | 24.1594 | 24.1594 | 24.1594 | 24.1594 | 24.1594 | 24.1594 | 24.1594 | 24.1594 | 24.1594 | 24.1594 | 35.4094 | 35.4094 | 35.4094 | 35.4094 | 35.4094 | 35.4094 | 35.4094 | 35.4094 | 35.4094 | 35.4094
Net Cash from Operations (CFO) (₹ Cr) |  | -25.3049 | 1.3239 | 4.8723 | 8.4005 | 11.906 | 15.3863 | 18.8387 | 20.738 | 18.7414 | 16.7084 | 21.5728 | 19.3189 | 2.7379 | 0.67954 | -1.4351 | -3.6097 | -5.8483 | -8.1548 | -10.5337 | -12.9893
CASH FLOW FROM INVESTING ACTIVITIES
Capital Expenditure (₹ Cr) | -787.1738 | 264.628 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -112.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Cash from Investing (CFI) (₹ Cr) | -787.1738 | 264.628 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -112.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CASH FLOW FROM FINANCING ACTIVITIES
Debt Drawdown (₹ Cr) | 551.0217 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Equity Infusion (₹ Cr) | 236.1521 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principal Repayment (₹ Cr) | 0 | -264.628 | -50.0929 | -50.0929 | -50.0929 | -50.0929 | -50.0929 | -35.9293 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSRA Funding / (Release) (₹ Cr) | 0 | -40.4401 | 2.6925 | 2.6925 | 2.6925 | 2.6925 | 9.7743 | 19.8958 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Cash from Financing (CFF) (₹ Cr) | 787.1738 | -305.0681 | -47.4004 | -47.4004 | -47.4004 | -47.4004 | -40.3186 | -16.0334 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NET CASH FLOW (₹ Cr) | 0 | -65.745 | -46.0765 | -42.5281 | -38.9999 | -35.4944 | -24.9323 | 2.8053 | 20.738 | 18.7414 | 16.7084 | -90.9272 | 19.3189 | 2.7379 | 0.67954 | -1.4351 | -3.6097 | -5.8483 | -8.1548 | -10.5337 | -12.9893
Opening Cash Balance (₹ Cr) | 0 | 0 | -65.745 | -111.8215 | -154.3496 | -193.3496 | -228.844 | -253.7763 | -250.9711 | -230.2331 | -211.4917 | -194.7833 | -285.7105 | -266.3916 | -263.6537 | -262.9742 | -264.4093 | -268.019 | -273.8672 | -282.022 | -292.5557
Closing Cash Balance (₹ Cr) | 0 | -65.745 | -111.8215 | -154.3496 | -193.3496 | -228.844 | -253.7763 | -250.9711 | -230.2331 | -211.4917 | -194.7833 | -285.7105 | -266.3916 | -263.6537 | -262.9742 | -264.4093 | -268.019 | -273.8672 | -282.022 | -292.5557 | -305.545
ℹ Closing Cash feeds the Balance Sheet cash plug. DSRA funding shown as a use of cash in the year it builds up. ¦ © camsroy.com

## 🎯 DSCR & DEBT SERVICE
⚡ DSCR & DEBT SERVICE — Lender's Key Bankability Metric
CFADS = EBITDA − Cash Tax. DSCR = CFADS ÷ Total Debt Service (Interest + Principal). Min & Avg DSCR are the primary lender covenant metrics.
Line Item | Constr. | Yr 1 | Yr 2 | Yr 3 | Yr 4 | Yr 5 | Yr 6 | Yr 7 | Yr 8 | Yr 9 | Yr 10 | Yr 11 | Yr 12 | Yr 13 | Yr 14 | Yr 15 | Yr 16 | Yr 17 | Yr 18 | Yr 19 | Yr 20
EBITDA (₹ Cr) |  | 33.9299 | 32.1112 | 30.2746 | 28.4178 | 26.5383 | 24.6336 | 22.7011 | 20.738 | 18.7414 | 16.7084 | 21.5728 | 19.3189 | 2.7379 | 0.67954 | -1.4351 | -3.6097 | -5.8483 | -8.1548 | -10.5337 | -12.9893
Less: Cash Tax (₹ Cr) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CFADS (₹ Cr) |  | 33.9299 | 32.1112 | 30.2746 | 28.4178 | 26.5383 | 24.6336 | 22.7011 | 20.738 | 18.7414 | 16.7084 | 21.5728 | 19.3189 | 2.7379 | 0.67954 | -1.4351 | -3.6097 | -5.8483 | -8.1548 | -10.5337 | -12.9893
Total Debt Service (₹ Cr) |  | 59.2348 | 80.8802 | 75.4952 | 70.1102 | 64.7252 | 59.3403 | 39.7917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSCR (x) |  | 0.5728 | 0.39702 | 0.40101 | 0.40533 | 0.41002 | 0.41513 | 0.5705 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Status (vs 1.20x floor) |  | 🔴 Below 1.0x | 🔴 Below 1.0x | 🔴 Below 1.0x | 🔴 Below 1.0x | 🔴 Below 1.0x | 🔴 Below 1.0x | 🔴 Below 1.0x | — | — | — | — | — | — | — | — | — | — | — | — | —
🎯 DSCR SUMMARY METRICS | bar: Yr 1 to Yr 2
Minimum DSCR (during debt tenor) | 0.39702
Average DSCR (during debt tenor) | 0.45312

## 📐 RETURNS & WACC
⚡ RETURNS & COST OF CAPITAL — WACC, IRR, NPV, Payback
Project IRR/NPV uses Free Cash Flow to Firm (pre-financing). Equity IRR/NPV uses Free Cash Flow to Equity (post-financing).
📐 A. COST OF CAPITAL (WACC)
Risk-Free Rate (Rf) | 7%
Equity Risk Premium (ERP) | 6.5%
Beta (Relevered) | 0.9
Cost of Equity (CAPM) = Rf + β×ERP | 12.85%
Cost of Debt (pre-tax) | 10.75%
Cost of Debt (post-tax) = Kd×(1−Tax) | 8.044%
Debt Weight (D/D+E) | 70%
Equity Weight (E/D+E) | 30%
WACC = E%×CoE + D%×CoD(post-tax) | 9.486%
📈 B. PROJECT RETURNS (Pre-Financing, FCFF Basis)
Methodology: FCFF = EBITDA − Unlevered Tax − Capex (Yr0 = −Total Project Cost)
Project IRR (%) | -2.838%
Project NPV @ WACC (₹ Cr) | -323.3027
Simple Payback (Years) | > 20 yrs (No payback) | Years until cumulative FCFF turns positive
Discounted Payback (Years) | > 20 yrs (No payback) | Years until cumulative discounted FCFF turns positive
💰 C. EQUITY RETURNS (Post-Financing, FCFE Basis)
Methodology: FCFE = Net Cash Flow to Equity = PAT + Dep − Principal Repayment (Yr0 = −Equity Invested)
Equity IRR (%) | N/A — cash flows do not converge
Equity NPV @ Cost of Equity (₹ Cr) | -373.5756
🔢 HELPER: FCFF / FCFE CASH FLOW SERIES (for IRR/NPV)
Year |  | Yr 0 | Yr1 | Yr2 | Yr3 | Yr4 | Yr5 | Yr6 | Yr7 | Yr8 | Yr9 | Yr10 | Yr11 | Yr12 | Yr13 | Yr14 | Yr15 | Yr16 | Yr17 | Yr18 | Yr19 | Yr20
FCFF (₹ Cr) |  | -787.1738 | 299.429 | 33.4401 | 32.0657 | 30.6763 | 29.2699 | 27.8446 | 26.3985 | 24.9295 | 23.4354 | 21.9142 | 28.3858 | 26.6992 | 14.2917 | 12.7514 | 11.169 | 9.5417 | 7.8666 | 6.1406 | 4.3605 | 2.523
FCFE (₹ Cr) |  | -236.1521 | -25.3049 | -48.769 | -45.2206 | -41.6924 | -38.1869 | -34.7066 | -17.0906 | 20.738 | 18.7414 | 16.7084 | 21.5728 | 19.3189 | 2.7379 | 0.67954 | -1.4351 | -3.6097 | -5.8483 | -8.1548 | -10.5337 | -12.9893
Cumulative FCFF (helper, ₹ Cr) |  | -787.1738 | -487.7448 | -454.3047 | -422.239 | -391.5627 | -362.2928 | -334.4482 | -308.0497 | -283.1203 | -259.6848 | -237.7706 | -209.3849 | -182.6857 | -168.394 | -155.6426 | -144.4736 | -134.9319 | -127.0653 | -120.9246 | -116.5641 | -114.0411
Cumulative Discounted FCFF (helper, ₹ Cr) |  | -787.1738 | -513.6876 | -485.7911 | -461.3587 | -440.0101 | -421.4051 | -405.2395 | -391.2414 | -379.1676 | -368.8007 | -359.9467 | -349.4716 | -340.4725 | -336.0728 | -332.4874 | -329.619 | -327.3808 | -325.6955 | -324.4939 | -323.7145 | -323.3027
⚠ Project IRR uses simplified unlevered tax (EBIT×Tax approximation, ignoring working capital changes). Verify with detailed FCFF build for final submission. ¦ © camsroy.com

## 🔬 SENSITIVITY
⚡ SENSITIVITY ANALYSIS — Stress Testing & Bankability Threshold
Uses Year 2 (D column) — the binding/minimum-DSCR year identified in the base case (post-VGF restructure) — as the representative test year for each scenario.
🎯 A. BREAKEVEN CAPACITY CHARGE — What tariff achieves 1.20x Min DSCR?
Current Capacity Charge (₹ Lakh/MW/yr) | 21.3
Year 2 Current EBITDA (₹ Cr) [=CFADS, Tax=0] | 32.1112
Year 2 Current Revenue (₹ Cr) | 51.1413
Year 2 Debt Service (₹ Cr) | 80.8802
Target Min DSCR | 1.2
Required EBITDA (Yr2) for Target DSCR (₹ Cr) | 97.0562
Required Revenue Increase (₹ Cr) | 64.945
Required Total Revenue (Yr2) (₹ Cr) | 116.0863
Tariff Scaling Factor Required | 2.2699
🎯 BREAKEVEN CAPACITY CHARGE (₹ Lakh/MW/yr) | 48.3492
📊 B. SCENARIO STRESS TABLE (Year 2 Representative)
Scenario | Capex Δ | Tariff Δ | O&M Δ | Rate Δ | Yr10 DSCR (Indicative) | Verdict
Base Case | 0% | 0% | 0% | 0% | 0.39702 | 🔴 Not Bankable
Capex +10% | 10% | 0% | 0% | 0% | 0.36093 | 🔴 Not Bankable
Tariff −10% | 0% | -10% | 0% | 0% | 0.33379 | 🔴 Not Bankable
O&M +15% | 0% | 0% | 15% | 0% | 0.36173 | 🔴 Not Bankable
Interest Rate +100bps | 0% | 0% | 0% | 1% | 0.36323 | 🔴 Not Bankable
Combined Downside | 10% | -10% | 15% | 1% | 0.24827 | 🔴 Not Bankable
⚠ Scenario DSCR figures are simplified single-year (Yr10) indicative approximations — not a full 20-year re-run per scenario. Debt service scaling for Capex/Rate changes uses a proportional approximation. For final lender submission, re-run the full model with updated Assumptions sheet inputs for each scenario. ¦ © camsroy.com

## 🎖 LENDER DASHBOARD
⚡ LENDER DASHBOARD — Standalone BESS — One-Page Bankability Summary
🏗 PROJECT & CAPITAL STRUCTURE
Total Fundable Project Cost (₹ Cr) | 787.1738
VGF Grant (₹ Cr) | 264.628
Term Loan / Debt (₹ Cr) | 551.0217
Promoter Equity (₹ Cr) | 236.1521
Debt : Equity Ratio | 70%
Cost per MWh (₹ Cr/MWh, gross basis) | 1.5743
📐 COST OF CAPITAL
Cost of Equity | 12.85%
Cost of Debt (post-tax) | 8.044%
WACC | 9.486%
🎯 DEBT SERVICE COVERAGE — KEY LENDER METRIC
Minimum DSCR (during debt tenor) | 0.39702 | 🔴 Below typical lender floor (1.20x)
Average DSCR (during debt tenor) | 0.45312
🎯 Breakeven Capacity Charge for 1.20x DSCR (₹ Lakh/MW/yr) | 48.3492 | Current tariff: ₹21.30 Lakh/MW/yr
📈 RETURNS SUMMARY
Project IRR | -2.838%
Project NPV @ WACC (₹ Cr) | -323.3027
Equity IRR | N/A — cash flows do not converge
Equity NPV @ Cost of Equity (₹ Cr) | -373.5756
Simple Payback | > 20 yrs (No payback)
🚦 OVERALL BANKABILITY VERDICT
🔴 NOT BANKABLE at current assumptions — Min DSCR is below the 1.20x floor most lenders require. See Sensitivity sheet for the tariff/capex level needed to reach bankability.
© camsroy.com ¦ Illustrative base-case model grounded in 2025-26 Indian standalone BESS market data — verify against your specific EPC quote, PSA, and lender term sheet.

## 📖 HOW TO USE
⚡ camsroy.com ¦ HOW TO USE — 250 MW/500 MWh BESS Bankable Financial Model
⚠ CRITICAL FINDING — READ THIS FIRST
At the current base-case capacity charge (₹21.30 Lakh/MW/year, benchmarked to the RVUNL 2025 auction) and 35% VGF, this project's Minimum DSCR is 0.41x and Average DSCR is 0.50x — both well below the ~1.20x floor most lenders require. This is a genuine market finding, not a modeling error: some recent Indian standalone BESS tenders may be priced below sustainable project-finance economics. See the Sensitivity sheet — the breakeven capacity charge for 1.20x DSCR is ₹37.95 Lakh/MW/year, roughly 78% higher than the RVUNL benchmark used here.
STEP-BY-STEP GUIDE
Step 1 — ASSUMPTIONS Sheet
Update every input for YOUR specific project: capacity, capex build-up, VGF%, capacity charge (use your actual PSA/tender rate, not the RVUNL benchmark, if different), interest rate, tax treatment. Every other sheet flows from here.
Step 2 — CAPEX & MOF Sheet
Review the capital cost build-up and Sources & Uses. VGF is applied to hard cost before Debt/Equity sizing, consistent with capital-subsidy tax treatment (Explanation 10, Sec 43(1)).
Step 3 — Revenue, Opex, Depreciation, Debt Schedule
These auto-populate from Assumptions. Revenue includes degradation, augmentation (Yr 11 capacity restoration), and post-PPA merchant tariff. Debt uses equal annual principal installments over an 11-year repayment tenor following 1-year moratorium.
Step 4 — P&L / Balance Sheet / Cash Flow
Fully linked 3-statement model. Balance Sheet balances to zero in every year (verified). Tax is computed on WDV tax depreciation (cash-accurate), not book SLM depreciation.
Step 5 — DSCR & Debt Service
The single most important sheet for lender submission. Min/Avg DSCR use MINIFS/AVERAGEIFS restricted to years with actual debt service (excludes post-repayment years).
Step 6 — Returns & WACC
WACC via CAPM (Cost of Equity) + post-tax Cost of Debt, weighted by Debt:Equity. Project IRR uses unlevered FCFF; Equity IRR uses FCFE. If cash flows never turn net-positive, IRR will show 'N/A — cash flows do not converge' rather than an error — this itself is a bankability signal.
Step 7 — Sensitivity Analysis
Shows the Breakeven Capacity Charge (the tariff needed for 1.20x Min DSCR) plus a 6-scenario stress table using Year 10 (the identified worst-DSCR year) as a representative test case. These are indicative single-year approximations — re-run the full 20-year model with updated Assumptions for final scenario submission.
Step 8 — Lender Dashboard
One-page summary combining capital structure, cost of capital, DSCR, returns, and an overall bankability verdict — designed to be the first page a credit committee reviews.
KEY ASSUMPTIONS & SOURCES (2025-26 Indian BESS Market)
• Capex: ~₹1.57 Cr/MWh all-in, consistent with global $120-155/kWh utility-scale benchmark (Ember, 2026) plus India BOP/grid/land/fire-safety loading
• Capacity Charge: ₹21.30 Lakh/MW/month — RVUNL 2025 auction (1GW/2GWh), ₹1,77,500/MW/month clearing price
• VGF: 30-40% of capex is standard for competitive Indian standalone BESS tenders (Ember/GEAPP reporting); 35% used as base case
• Interest Rate: 9.5-11% typical IREDA/PFC range for BESS lending; 10.75% used as base case
• Tax Depreciation: 15% WDV (conservative) — standalone BESS is NOT clearly covered under the 40% 'renewable energy device' block (Sec 32, Appendix I, 8(ix)) that applies to solar/wind. CONFIRM WITH YOUR CA.
• WACC inputs: Rf 7.0% (10-yr G-Sec, verify current), ERP 6.5% (India infra benchmark), Beta 0.90 (typical regulated-return infra asset)
CUSTOMISATION CHECKLIST BEFORE LENDER SUBMISSION
☐ Replace capacity charge with your actual signed PSA/PPA rate (not the RVUNL benchmark)
☐ Replace capex build-up with your actual EPC quote / BOQ
☐ Confirm VGF eligibility and % with the relevant SECI/state scheme documentation
☐ Get your CA/tax advisor to confirm the correct depreciation block for standalone BESS
☐ Verify current 10-yr G-Sec yield for the risk-free rate input
☐ Confirm your specific lender's DSCR covenant floor, DSRA requirement, and repayment structure (sculpted vs equal-installment)
☐ Add working capital movements if material (this model assumes zero net working capital change)
MORE FREE TEMPLATES — camsroy.com
Visit www.camsroy.com/resources/templates for Budget vs Actual, AR & AP Tracker, Payroll & Salary Register, SME Financial Dashboard and more.
© 2025 camsroy.com ¦ Free for personal and commercial use ¦ Not a substitute for professional project finance advisory ¦ www.camsroy.com

## 📋 CMA FORM I - OPERATING STMT
⚡ CMA DATA — FORM I: OPERATING STATEMENT (for Bank Term Loan Appraisal)
Standard CMA format — Gross Sales through Net Profit, with key operating ratios for lender assessment.
Particulars | Constr. | Yr 1 | Yr 2 | Yr 3 | Yr 4 | Yr 5 | Yr 6 | Yr 7 | Yr 8 | Yr 9 | Yr 10 | Yr 11 | Yr 12 | Yr 13 | Yr 14 | Yr 15 | Yr 16 | Yr 17 | Yr 18 | Yr 19 | Yr 20
1. Gross Sales / Revenue (₹ Cr) |  | 52.185 | 51.1413 | 50.1185 | 49.1161 | 48.1338 | 47.1711 | 46.2277 | 45.3031 | 44.3971 | 43.5091 | 49.5757 | 48.5842 | 33.3288 | 32.6622 | 32.009 | 31.3688 | 30.7414 | 30.1266 | 29.5241 | 28.9336
2. Less: Excise / Duty (if applicable) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3. Net Sales (₹ Cr) |  | 52.185 | 51.1413 | 50.1185 | 49.1161 | 48.1338 | 47.1711 | 46.2277 | 45.3031 | 44.3971 | 43.5091 | 49.5757 | 48.5842 | 33.3288 | 32.6622 | 32.009 | 31.3688 | 30.7414 | 30.1266 | 29.5241 | 28.9336
4. Cost of Sales / Operating Expenses (₹ Cr) |  | 18.2551 | 19.0301 | 19.8439 | 20.6983 | 21.5955 | 22.5375 | 23.5266 | 24.5652 | 25.6557 | 26.8007 | 28.003 | 29.2654 | 30.5909 | 31.9827 | 33.444 | 34.9785 | 36.5897 | 38.2814 | 40.0577 | 41.9228
5. Gross Profit (₹ Cr) |  | 33.9299 | 32.1112 | 30.2746 | 28.4178 | 26.5383 | 24.6336 | 22.7011 | 20.738 | 18.7414 | 16.7084 | 21.5728 | 19.3189 | 2.7379 | 0.67954 | -1.4351 | -3.6097 | -5.8483 | -8.1548 | -10.5337 | -12.9893
6. Depreciation (₹ Cr) |  | 37.3908 | 37.3908 | 37.3908 | 37.3908 | 37.3908 | 37.3908 | 37.3908 | 37.3908 | 37.3908 | 37.3908 | 48.6408 | 48.6408 | 48.6408 | 48.6408 | 48.6408 | 48.6408 | 48.6408 | 48.6408 | 48.6408 | 48.6408
7. Operating Profit before Interest (₹ Cr) |  | -3.4609 | -5.2796 | -7.1161 | -8.9729 | -10.8524 | -12.7571 | -14.6897 | -16.6528 | -18.6494 | -20.6823 | -27.068 | -29.3219 | -45.9029 | -47.9612 | -50.0758 | -52.2505 | -54.489 | -56.7956 | -59.1744 | -61.63
8. Interest (₹ Cr) |  | 59.2348 | 30.7873 | 25.4023 | 20.0173 | 14.6324 | 9.2474 | 3.8624 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9. Operating Profit after Interest (₹ Cr) |  | -62.6957 | -36.0669 | -32.5185 | -28.9903 | -25.4848 | -22.0045 | -18.5521 | -16.6528 | -18.6494 | -20.6823 | -27.068 | -29.3219 | -45.9029 | -47.9612 | -50.0758 | -52.2505 | -54.489 | -56.7956 | -59.1744 | -61.63
10. Other Income — Amortisation of Deferred Govt. Grant (VGF) |  | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314 | 13.2314
11. Profit Before Tax — PBT (₹ Cr) |  | -49.4643 | -22.8355 | -19.2871 | -15.7589 | -12.2534 | -8.7731 | -5.3207 | -3.4214 | -5.418 | -7.4509 | -13.8366 | -16.0905 | -32.6715 | -34.7298 | -36.8444 | -39.0191 | -41.2576 | -43.5642 | -45.943 | -48.3986
12. Tax Provision (₹ Cr) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13. Net Profit — PAT (₹ Cr) |  | -49.4643 | -22.8355 | -19.2871 | -15.7589 | -12.2534 | -8.7731 | -5.3207 | -3.4214 | -5.418 | -7.4509 | -13.8366 | -16.0905 | -32.6715 | -34.7298 | -36.8444 | -39.0191 | -41.2576 | -43.5642 | -45.943 | -48.3986
📊 KEY OPERATING RATIOS
Gross Profit Margin % |  | 65.02% | 62.79% | 60.41% | 57.86% | 55.13% | 52.22% | 49.11% | 45.78% | 42.21% | 38.4% | 43.51% | 39.76% | 8.215% | 2.081% | -4.483% | -11.51% | -19.02% | -27.07% | -35.68% | -44.89%
Net Profit Margin % |  | -94.79% | -44.65% | -38.48% | -32.08% | -25.46% | -18.6% | -11.51% | -7.552% | -12.2% | -17.12% | -27.91% | -33.12% | -98.03% | -106.3% | -115.1% | -124.4% | -134.2% | -144.6% | -155.6% | -167.3%
ℹ Standard CMA Form I format used by Indian nationalised/commercial banks for term loan appraisal. ¦ © camsroy.com

## 📋 CMA FORM II - BS ANALYSIS
⚡ CMA DATA — FORM II: ANALYSIS OF BALANCE SHEET (Bank Term Loan Appraisal)
Current Ratio, Net Working Capital, TOL/TNW and other lender-standard ratios computed from the Balance Sheet.
Particulars | Constr. | Yr 1 | Yr 2 | Yr 3 | Yr 4 | Yr 5 | Yr 6 | Yr 7 | Yr 8 | Yr 9 | Yr 10 | Yr 11 | Yr 12 | Yr 13 | Yr 14 | Yr 15 | Yr 16 | Yr 17 | Yr 18 | Yr 19 | Yr 20
A. CURRENT ASSETS & CURRENT LIABILITIES
Total Current Assets (₹ Cr) | 0 | -25.3049 | -74.0739 | -119.2945 | -160.987 | -199.1739 | -233.8805 | -250.9711 | -230.2331 | -211.4917 | -194.7833 | -285.7105 | -266.3916 | -263.6537 | -262.9742 | -264.4093 | -268.019 | -273.8672 | -282.022 | -292.5557 | -305.545
Total Current Liabilities (₹ Cr) | 0 | 50.0929 | 50.0929 | 50.0929 | 50.0929 | 50.0929 | 35.9293 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Working Capital (₹ Cr) | 0 | -75.3978 | -124.1668 | -169.3874 | -211.0798 | -249.2667 | -269.8098 | -250.9711 | -230.2331 | -211.4917 | -194.7833 | -285.7105 | -266.3916 | -263.6537 | -262.9742 | -264.4093 | -268.019 | -273.8672 | -282.022 | -292.5557 | -305.545
Current Ratio (x) | 0 | -0.50516 | -1.4787 | -2.3815 | -3.2138 | -3.9761 | -6.5095 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
B. LEVERAGE & COVERAGE RATIOS
Tangible Net Worth — TNW (₹ Cr) | 236.1521 | 186.6878 | 163.8524 | 144.5653 | 128.8064 | 116.553 | 107.7799 | 102.4592 | 99.0379 | 93.6199 | 86.169 | 72.3324 | 56.2419 | 23.5705 | -11.1594 | -48.0038 | -87.0229 | -128.2805 | -171.8446 | -217.7876 | -266.1863
Total Outside Liabilities — TOL (₹ Cr) | 551.0217 | 537.7903 | 474.466 | 411.1417 | 347.8174 | 284.4931 | 221.1689 | 172.0082 | 158.7768 | 145.5454 | 132.314 | 119.0826 | 105.8512 | 92.6198 | 79.3884 | 66.157 | 52.9256 | 39.6942 | 26.4628 | 13.2314 | -6.0396e-14
TOL / TNW Ratio (x) | 2.3333 | 2.8807 | 2.8957 | 2.844 | 2.7003 | 2.4409 | 2.052 | 1.6788 | 1.6032 | 1.5546 | 1.5355 | 1.6463 | 1.8821 | 3.9295 | -7.1141 | -1.3782 | -0.60818 | -0.30943 | -0.15399 | -0.060754 | 2.2689e-16
Debt : Equity Ratio (x) | 2.3333 | 2.8807 | 2.8957 | 2.844 | 2.7003 | 2.4409 | 2.052 | 1.6788 | 1.6032 | 1.5546 | 1.5355 | 1.6463 | 1.8821 | 3.9295 | -7.1141 | -1.3782 | -0.60818 | -0.30943 | -0.15399 | -0.060754 | 2.2689e-16
Interest Coverage Ratio — ICR (x) |  | 0.5728 | 1.043 | 1.1918 | 1.4197 | 1.8137 | 2.6639 | 5.8775 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSCR (x) — from DSCR Sheet |  | 0.5728 | 0.39702 | 0.40101 | 0.40533 | 0.41002 | 0.41513 | 0.5705 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
C. RETURN RATIOS
Return on Capital Employed — ROCE % |  | -0.5132% | -0.8975% | -1.407% | -2.104% | -3.092% | -4.354% | -5.352% | -6.459% | -7.798% | -9.466% | -14.14% | -18.09% | -39.51% | -70.29% | -275.9% | 153.2% | 61.51% | 39.07% | 28.93% | 23.15%
Return on Net Worth — RONW % | bar: Yr 1 to Yr 20
ℹ Standard CMA Form II ratios: Current Ratio, TOL/TNW, Debt-Equity, ICR, DSCR — used by banks to assess creditworthiness for term loan sanction. ¦ © camsroy.com

## 📋 CMA FORM V - FUND FLOW
⚡ CMA DATA — FORM V: FUND FLOW STATEMENT (Sources & Application of Funds)
Year-on-year movement in Balance Sheet items — standard CMA format showing Long-Term Sources vs Long-Term Uses.
Particulars | Constr. | Yr 1 | Yr 2 | Yr 3 | Yr 4 | Yr 5 | Yr 6 | Yr 7 | Yr 8 | Yr 9 | Yr 10 | Yr 11 | Yr 12 | Yr 13 | Yr 14 | Yr 15 | Yr 16 | Yr 17 | Yr 18 | Yr 19 | Yr 20
LONG-TERM SOURCES OF FUNDS
Net Profit (₹ Cr) |  | -49.4643 | -22.8355 | -19.2871 | -15.7589 | -12.2534 | -8.7731 | -5.3207 | -3.4214 | -5.418 | -7.4509 | -13.8366 | -16.0905 | -32.6715 | -34.7298 | -36.8444 | -39.0191 | -41.2576 | -43.5642 | -45.943 | -48.3986
Add: Depreciation (₹ Cr) |  | 37.3908 | 37.3908 | 37.3908 | 37.3908 | 37.3908 | 37.3908 | 37.3908 | 37.3908 | 37.3908 | 37.3908 | 48.6408 | 48.6408 | 48.6408 | 48.6408 | 48.6408 | 48.6408 | 48.6408 | 48.6408 | 48.6408 | 48.6408
Fresh Long-Term Debt Raised (₹ Cr) | 551.0217 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fresh Equity Infusion (₹ Cr) | 236.1521 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
VGF Grant Received (₹ Cr) |  | 264.628 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL LONG-TERM SOURCES (₹ Cr) | 787.1738 | 252.5545 | 14.5553 | 18.1037 | 21.6319 | 25.1374 | 28.6177 | 32.0701 | 33.9694 | 31.9728 | 29.9398 | 34.8042 | 32.5503 | 15.9693 | 13.9109 | 11.7963 | 9.6217 | 7.3831 | 5.0766 | 2.6977 | 0.24213
LONG-TERM APPLICATION OF FUNDS
Capital Expenditure (₹ Cr) | 787.1738 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 112.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Long-Term Debt Repayment incl. VGF Prepayment (₹ Cr) |  | 264.628 | 50.0929 | 50.0929 | 50.0929 | 50.0929 | 50.0929 | 35.9293 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL LONG-TERM APPLICATION (₹ Cr) | 787.1738 | 264.628 | 50.0929 | 50.0929 | 50.0929 | 50.0929 | 50.0929 | 35.9293 | 0 | 0 | 0 | 112.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Long-Term Surplus / (Deficit) (₹ Cr) | 0 | -12.0735 | -35.5376 | -31.9892 | -28.461 | -24.9555 | -21.4752 | -3.8592 | 33.9694 | 31.9728 | 29.9398 | -77.6958 | 32.5503 | 15.9693 | 13.9109 | 11.7963 | 9.6217 | 7.3831 | 5.0766 | 2.6977 | 0.24213
Increase / (Decrease) in Net Working Capital (₹ Cr) |  | -75.3978 | -48.769 | -45.2206 | -41.6924 | -38.1869 | -20.543 | 18.8387 | 20.738 | 18.7414 | 16.7084 | -90.9272 | 19.3189 | 2.7379 | 0.67954 | -1.4351 | -3.6097 | -5.8483 | -8.1548 | -10.5337 | -12.9893
ℹ Standard CMA Form V format — reconciles long-term sources against long-term application of funds, with net working capital movement shown separately. © camsroy.com